Exercises – Spectral Library Building using SpectraST

These exercises take you through the process of building a spectral library from sequence search results from the yeast SILAC dataset we have been using.

- Create RAW spectral library

- Create consensus spectral library

- Generate quality-filtered SRM assay library

- Explore library building results

Task 1. Create a RAW spectral library from confidently identified spectra

- Open Petunia interface, Select Files, then navigate to C:\TPP\data\class\Yeast\iprophet\. Select interact.ipro.pep.xml, then Copy

- Navigate to C:\TPP\data\, select both mzML files, then Copy.

[only if necessary]

- Navigate to C:\TPP\data\class\Yeast\spectrast\ and create a new directory called ‘speclibs’  Click link and Set as Working Directory

- Click Paste to place the input files in your working directory

- Select TPPTools->SpectraST Tools->SpectraST Library Import link.

  - Specify ‘.pepXML’ as File Format

  - Under Choose Files, click Add Files and select the pep.xml file

  - Under General Options, enter Yeast_raw as name of output file, and Course as dataset identifier

  - Click on Import Library Files

As the job starts, you will be redirected to the job output page, where you can see the command. Building the raw library should take 5-10 minutes. SpectraST scans through all the identifications in the pepXML file, selects only those above the probability threshold, then extracts the corresponding query spectrum from the source mzML file(s), and saves each one to the library.

SpectraST started at Fri Sep 02 11:24:50 2016.

Processing "c:/interact.ipro.pep.xml"...500...1000...  ..13000...DONE!

Failed to open input file 'c:/TPP/data/class/Yeast/spectrast/speclibs/OR20080317_S_SILAC-LH_1-1_01.mzXML'.

10%...20%...30%...40%...50%...60%...70%...80%...90%...DONE!

Total number of spectra in library: 13481

Total number of distinct peptide ions in library: 5589

Total number of distinct stripped peptides in library: 2797

CHARGE            +1: 0 ; +2: 7144 ; +3: 5431 ; +4: 848 ; +5: 58 ; >+5: 0 ; Unk: 0

TERMINI           Tryptic: 12952 ; Semi-tryptic: 529 ; Non-tryptic: 0

PROBABILITY       >0.9999: 12218 ; 0.999-0.9999: 553 ; 0.99-0.999: 393 ; 0.9-0.99: 317 ; <0.9: 0

NREPS             20+: 0 ; 10-19: 0 ; 4-9: 0 ; 2-3: 0 ; 1: 13481

MODIFICATIONS     C,Carbamidomethyl: 1019 ; C,Pyro-carbamidomethyl: 23

E,Glu->pyro-Glu: 7

K,Label:13C(6)15N(2): 4424

M,Oxidation: 162

Q,Gln->pyro-Glu: 187

Task 2. Create a CONSENSUS spectral library from the RAW library

- Select TPPTools->SpectraST Tools->SpectraST Library Import link.

  - Specify ‘.splib’ as File Format

  - Navigate to the speclibs directory [if necessary]

  - Under Choose Files, select the checkbox next to the pep.xml file and Remove. Click Add Files, select Yeast_raw.splib, and Select.

  - Choose consensus as build action

  - Under General Options, enter Yeast_consensus as name of output file.

  - Click on Import Library Files

SpectaST is now combining spectra identified for each peptide ion and will create a “consensus” spectrum for each peptide ion that has multiple replicates in the raw library raw.splib. For peptide ions with only a single replicate, SpectraST will also include them in the final library after some spectrum processing.

. There are far fewer ions, and no need to pull data from the mzML files, so this step is much quicker.

SpectraST started at Fri Sep 02 11:47:33 2016.

Creating CONSENSUS library from "c:/TPP/data/class/Yeast/spectrast/speclibs/Yeast_raw.splib"

Importing ions...500...1000...1500...2000...2500...3000...3500...4000...4500...5000...5500...DONE!

Library file (BINARY) "Yeast_consensus.splib" created.

Library file (TEXT) "Yeast_consensus.sptxt" created.

M/Z Index file "Yeast_consensus.spidx" created.

Peptide Index file "Yeast_consensus.pepidx" created.

Total number of spectra in library: 5589

Total number of distinct peptide ions in library: 5589

Total number of distinct stripped peptides in library: 2797

CHARGE            +1: 0 ; +2: 2991 ; +3: 2157 ; +4: 403 ; +5: 38 ; >+5: 0 ; Unk: 0

TERMINI           Tryptic: 5298 ; Semi-tryptic: 291 ; Non-tryptic: 0

PROBABILITY       >0.9999: 5038 ; 0.999-0.9999: 240 ; 0.99-0.999: 167 ; 0.9-0.99: 144 ; <0.9: 0

NREPS             20+: 46 ; 10-19: 78 ; 4-9: 557 ; 2-3: 2800 ; 1: 2108

Task 3. Apply quality filters and extract SRM assays from consensus library

- Select TPPTools->SpectraST Tools->SpectraST Library Import link.

  - Specify ‘.splib’ as File Format

  - Navigate to the speclibs directory [if necessary]

  - Under Choose Files, select the checkbox next to Yeast_raw.splib and Remove. Click Add Files, select Yeast_consensus.splib, and Select.

  - Choose quality filter as build action

  - Under General Options, enter Yeast_Q2_mrm as name of output file.

  - Set Quality Level to Remove to 2:

  - Add the following to additional parameters box: -cM -cQ16

  - Click on Import Library Files

This command will also complete very quickly.  SpectraST is evaluating each consensus, and discarding those which don’t meet the quality standard. It will also produce a tab-delimited SRM assay text file, which can be used to do targeted proteomics.

Level 1:	Remove impure spectra

Level 2:	Level 1 + spectra that have a spectrally similar counterpart in the library with a conflicting identification

Level 3:	Level 2 + spectra whose peptide sequence has no shared sub-sequence with any other peptides in the library

Level 4:	Level 3 + singleton spectra

Level 5:	Level 4 + inquorate spectra (with a user-defined quorum)

SpectraST started at Fri Sep 02 13:09:33 2016.

Applying QUALITY FILTER to "c:/TPP/data/class/Yeast/spectrast/speclibs/Yeast_consensus.splib".

Importing peptide ions...500...1000...1500...2000...2500...3000...3500...4000...4500...5000...5500...DONE!

Library file (BINARY) "Yeast_consensus_Q2.splib" created.

Library file (TEXT) "Yeast_consensus_Q2.sptxt" created.

M/Z Index file "Yeast_consensus_Q2.spidx" created.

Peptide Index file "Yeast_consensus_Q2.pepidx" created.

MRM Table file "Yeast_consensus_Q2.mrm" created.

Total number of spectra in library: 5438

Total number of distinct peptide ions in library: 5438

Total number of distinct stripped peptides in library: 2723

CHARGE            +1: 0 ; +2: 2908 ; +3: 2095 ; +4: 397 ; +5: 38 ; >+5: 0 ; Unk: 0

TERMINI           Tryptic: 5160 ; Semi-tryptic: 278 ; Non-tryptic: 0

PROBABILITY       >0.9999: 5038 ; 0.999-0.9999: 240 ; 0.99-0.999: 91 ; 0.9-0.99: 69 ; <0.9: 0

NREPS             20+: 46 ; 10-19: 78 ; 4-9: 557 ; 2-3: 2795 ; 1: 1962

Task 4. Investigate library building success

- A. First we will generate HTML view of a spectral library

- Select TPPTools->SpectraST Tools->Lib2HTML link.

  - Remove any existing libraries, select Yeast_Q2_mrm.splib

  - Choose quality filter as build action

- B. While that is running, click on Files and navigate to speclibs

  - Click on the View link by spectrast.log

  - Search for the word ‘Start’ with your browser (cntl-F)

- C. Click on the View link next to Yeast_Q2_mrm.splib

  - Note how few transitions there are per entry

  - Read header info for n_replicates

  - Note that almost all peaks are y/b ions